## Sch_1
NEPAL ELECTRICITY AUTHORITY
Project Management Directorate
Hetauda-Parwanipur-Pokhariya 132 kV Transmission Line Project
PMD/PTDSSP/HPP/2080/81-01: Design, Supply, Installation, Testing and Commissioning of Parwanipur-Pokhariya 132 kV Transmission Line.
Schedule No. 1:Plant and Mandatory Spare Parts Supplied from Abroad | [5 empty] | LC: Local Currency, FC: Foreign Currency
Item No. | Item Description | Country of Origin | Unit | Quantity | CIP Project Site including insurance, clearing, forwarding and transportation to site (Excluding Taxes and Duties applicable in Nepal) |  |  | Total Amount (Excluding Taxes and Duties) | Custom, VAT and other taxes
[5 empty] | FC |  |  | FC | LC
[5 empty] | Currency # | Unit Rate | Amount
(1) | (2) | (3) | (4) | (5) | (6) | (7) | (8)= (7)*(5) | (9) | (10)
1 | Design, Fabrication & supply of tower parts following types of towers & tower extension parts complete with stubs & Cleats, step bolts, hangers, D-shackles, bolts & nuts etc but excluding tower accessories such as danger plates, number plates, phase plates, anti-climbing devices( 132 kV LINE)
Tower Type 132kv QA,QB,QC QD (4 ckt Tower) with extensions required as per approved profile.(77 loc)
1.1 | High Tensile Steel |  | MT | 621.32
1.2 | Mild Steel |  | MT | 351.84
1.3 | Supply of Bolt & Nuts for various for towers including step bolts and spring washers |  | MT | 52.33
2 | Supply of Tower Accessories & Earthing
2.1 | Tower Accessories
a | Danger Plate |  | No. | 77
b | Number Plate |  | No. | 77
c | Anti Climbing Device |  | Sets | 77
d | Phase Plate (RYB 1 set) |  | Sets | 308
e | Circuit Plate |  | Sets | 308
f | Bird Guards |  | Sets | 924
g | Aviation signal |  | Sets | 10
2.2 | Supply of Tower Earthing Material
a | Pipe Type Earthing set |  | sets | 70
b | Counterpoise Type
| i) Counterpoise Type - 25 m |  | sets | 20
| ii) Counterpoise Type - 50 m |  | sets | 8
| iii) Counterpoise Type - 100 m |  | sets | 4
3 | Supply of Line Materials
3.1 | Conductor and Groundwire (Line Length)
a | Supply of ACSR conductor, code name "BEAR" |  | km | 277.2
b | Steel ground wire with optical fiber (48 core-fiber) |  | km | 22.72
3.2 | Insulator strings with insulators, attachment assemblies and arcing horns all complete for ACSR "BEAR" conductor and attachment assemblies all complete for OPGW
a | Single suspension with 1 composite long rod insulator 70kN complete for "BEAR" conductor |  | Set | 612
b | Double suspension with 2x1 composite long rod insulator 70kN complete for "BEAR" conductor |  | Set | 24
c | Single tension with 1 composite long rod insulator 120kN complete for "BEAR" conductor |  | Set | 588
d | Double tension with 2x1 composite long rod insulator 120kN complete for "BEAR" conductor |  | Set | 60
e | Pilot single suspension with composite rod insulator 70kN along with counterweights suitable for Bear ACSR Conductor |  | Set | 138
f | OPGW suspension Hard ware with preformed assembly complete |  | Set | 92
g | OPGW tension Hardware preformed assembly complete for one tower |  | Set | 56
h | Midpsan Compression joints Suitable for Bear ACSR conductor |  | Set | 150
i | Repair sleeves for ACSR Bear Conductor |  | Set | 100
3.3 | Preformed fittings for OPGW
a | Optical approach cable for New Pokharia Substation. |  | Km | 0.5
b | Optical Distribution Frames and other accessories required for connection with Multiplexer of New Pokhariyaj Substation. |  | Lot | 1
c | Joint Boxes for OPGW with cable fixing cleats |  | set | 12
3.4 | Vibration Dampers
a | Stockbridge Vibration damper for BEAR Conductor |  | set | 2520
b | Stockbridge Vibration damper for OPGW overhead ground wire with preformed armour rods |  | set | 162
4 | Spare Parts
4.1 | Galvanized steel tower with required extension including Stubs ( each 1 no full set)
a | Tower type QA+6 ( 1 no)
b | Tower type QB+6 (1 no)
c | Tower type QC+6 (1no)
d | Tower type QD+9 each (1 no)
4.1.1 | High Tensile Tower parts |  | MT | 51.01
4.1.2 | Mild Steel Tower Parts |  | MT | 22.56
4.1.3 | Supply of Bolt & Nuts for various for towers including step bolts and spring washers |  | MT | 3.84
4.2 | Insulator strings with insulators, attachment assemblies and arcing horns all complete for ACSR "BEAR" conductor and attachment assemblies all complete for OPGW
a | Single suspension with 1 composite long rod insulator 70kN complete for "BEAR" conductor |  | sets | 24
b | Double suspension with 2x1 composite long rod insulator 70kN complete for "BEAR" conductor |  | sets | 24
c | Single tension with 1 composite long rod insulator 120kN complete for "BEAR" conductor |  | sets | 60
d | Double tension with 2x1 composite long rod insulator 120kN complete for "BEAR" conductor |  | sets | 12
e | Pilot single suspension with composite rod insulator 70kN along with counterweights suitable for Bear ACSR Conductor |  | sets | 12
f | OPGW suspension Hard ware with preformed assembly complete |  | sets | 6
g | OPGW tension Hardware preformed assembly complete for one tower |  | sets | 6
4.3 | Conductor and accessories
a | Mid span compression sleeves for ACSR "BEAR" conductor |  | nos. | 35
b | Repair sleeve for ACSR "BEAR" conductor |  | nos. | 35
c | Stockbridge Vibration Damper for ACSR "BEAR" |  | nos. | 40
4.4 | Overhead OPGW and accessories
a | Optical fiber ground wire |  | km | 1
b | Optical approach cable |  | km | 1
c | Vibration Damper for OPGW |  | set | 12
5 | Tools And Equipment
5.1 | Flat wrench for different size of bolts |  | sets | 2
5.2 | Pipe wrench for common bolts |  | sets | 2
5.3 | Come along clamp for BEAR conductor |  | sets | 4
5.4 | Come along clamp for OPGW |  | nos. | 4
5.5 | Torque Wrench for different size of bolts |  | sets | 4
5.6 | Safety belt |  | sets | 12
5.7 | Portable Hydraulically operated Crimping tools with 2 sets of dies each for Conductor "BEAR", "CARDINAL", "MOOSE", & OPGW |  | sets | 1
5.8 | Safety helmet |  | sets | 12
5.9 | Double sheeve pulley block 5 MT capacity complete with all accessories |  | sets | 4
5.1 | Four sheeve pulley block 10 MT capacity complete with all accessories |  | sets | 2
5.11 | Sagging Winch Machine 10 MT capacity |  | sets | 1
5.12 | Earth discharge rod with FRP tube |  | set | 4
5.13 | 132 kV Line (Proximity voltage Detector) Tester |  | set | 1
5.14 | Digital Earth resistance tester, battery operated with measuring range 0-1000 ohms minimum, complete with accessories (Megger Make) |  | set | 1
5.15 | Steel ropes (Pilot wire) 35 sq. mm |  | m | 500
5.16 | Rubber covered rollers, pullies (2,3 keys) |  | sets | 4
5.17 | Line operator's leather gloves |  | pairs | 4
5.18 | Insulation tester (10000 V) suitable for outdoor line testing purpose |  | No. | 1
Total of Schedule No.1 to Grand Summary)
CARRIED TO THE GENERAL SUMMARY (Schedule 5)
Note : | 1) Bidder is required to quote prices in this Schedule for all the individual items/sub-items.
2.) The Prices of equipments are inclusive of type test charges.
3.) BOQ given above is indicative only based on the scope of work as given in Employer's Requirements. The quantities mentioned above may undergo change during detailed engineering to meet the functional requirement and scope of work defined in Employer's Requirements.
# | Specify currency in accordance with ITB Clause 19.1 of the Bidding Documents.
* | Strike-out whichever is not applicable.
| Name of Bidder: | [6 empty] | Date:
Signature of Bidder:
(Printed Name)
(Designation)
(Common Seal)

## Sch_2
NEPAL ELECTRICITY AUTHORITY
Project Management Directorate
Hetauda-Parwanipur-Pokhariya 132 kV Transmission Line Project
PMD/PTDSSP/HPP/2080/81-01: Design, Supply, Installation, Testing and Commissioning of Parwanipur-Pokhariya 132 kV Transmission Line.
Schedule No.2: Plant and Equipment including Mandatory Spares Parts to be supplied from within Nepal | [7 empty] | LC: Local Currency (NPR)
Item No. | Item description | Unit | Quantity | Ex Faxtory Price (Excluding VAT) in LC |  | Inland transportation to site in LC |  | Total Amount (Excluding Taxes ) | VAT and other taxes | Remarks
|  |  |  | Unit Rate | Amount | Unit Rate | Amount
1 | 2 | 3 | 4 | 5 | 6 = (4) x (5) | 7 | 8=(4)x(7) | 9=6+8 | 10
Total of Schedule- 2
CARRIED TO THE GENERAL SUMMARY (Schedule 5)
Note : | 1) Bidder is required to quote prices in this Schedule for all the items in Schedule 1 which they wish to supply from within Nepal.
2.) The Prices of equipments are inclusive of type test charges
# | Specify currency in accordance with BDS ITB Clause 32.1, Part-I of the Bidding Documents.
* | Strike-out whichever is not applicable.
a Specify currency in accordance with ITB 19.1 of the BDS.
b Column 5 Price shall include all customs duties and sales and other taxes already paid or payable on the components and raw materials used in the manufacture or assembly of the item or the customs duties and sales and other taxes already paid on previously imported items.
| Name of Bidder: |  |  |  |  | Date:
Signature of Bidder:
(Printed Name)
(Designation)
(Common Seal)
Name of Bidder:
Signature of Bidder:
(Printed Name)
(Designation)
(Common Seal)

## Sch_3
NEPAL ELECTRICITY AUTHORITY
Project Management Directorate
Hetauda-Parwanipur-Pokhariya 132 kV Transmission Line Project
PMD/PTDSSP/HPP/2080/81-01: Design, Supply, Installation, Testing and Commissioning of Parwanipur-Pokhariya 132 kV Transmission Line.
Schedule 3: Design Services
Item No. | Item Description | Estimated |  | Unit Price |  | Total Price |  | Remarks
|  | Unit | Quantity | Local Currency Portion (LC) | Foreign Currency Portion (FC) | Local Currency Portion (LC) | Foreign Currency Portion (FC)
1 | 2 | 3 | 4 | 5 | 6 | 7 = 4x5 | 8 = 4x6
NOT APPLICABLE
Total of Schedule -3
Name of Bidder:
Signature of Bidder:
(Printed Name)
(Designation)
(Common Seal)

## Sch_4(a)
NEPAL ELECTRICITY AUTHORITY
Project Management Directorate
Hetauda-Parwanipur-Pokhariya 132 kV Transmission Line Project
PMD/PTDSSP/HPP/2080/81-01: Design, Supply, Installation, Testing and Commissioning of Parwanipur-Pokhariya 132 kV Transmission Line.
Schedule No. 4
A: | Installation, Testing and Commissioning Services and Civil Works
Item No. | Item Description | Estimated |  | Construction and Installation (Excluding Taxes) |  |  |  |  | REMARKS
|  |  |  | Portion of Local Currency, LC (NPR) |  | Portion of Foreign Currency, FC
|  | Unit | Quantity | Unit Rate | Amount | Currency # | Unit Rate | Amount
(1) | (2) | (3) | (4) | (5) | (6)=(4)x(5) | (7) | (8) | (9)=(7)x(8)
1 | Survey
a | Check survey and review of profile including L/R profile in undulation, tower spotting, staking of tower locations and survey on tower location where required. | Km. | 22
b | Detail Survey and associated works at few locations. | Km. | 5
c | Preparation of Land Parcel data for tower pad and ROW lands | Lot | 1
d | Clearing the land & construction of all required access and maintance roads, and restoration of any modifications made for access roads if required. | m2 | 40000
2 | Soil Investigation
a | All kinds of Soils except fissured rock & hard rock | Loc. | 30
b | Fissured Rock (Both dry and wet) | Loc. | 0
c | Hard Rock | Loc. | 0
d | River Crossing | Loc. | 2
e | Furnishing Bore Log Data | Loc. | 30
f | Measurement of ground resistance | Loc. | 38
3 | Benching
a | Normal Soil | Cum. | 1500
b | Fissured Rock | Cum. | 0
c | Hard Rock | Cum. | 50
4 | Work associated with installation of tower foundations with excavation and backfilling
Excavation and re backfilling of soil while foundation execution
4.1 | Wet Soil with water | Cum. | 26489.6
4.2 | Hard Rock requires Blasting | Cum. | 500
Concreting (including all associated works related to foundations)
4.3 | M20 Concrete Nominal Mix 1:1.5:3 | Cum. | 4041.38
4.4 | M10 Concrete Nominal Mix 1:3:6 | Cum. | 392.3
Pile foundations
4.5 | M30 Concrete Pile Cap | Cum. | 64
4.6 | Pile Casting including boring as per TS and as per approved design. | RM | 192
4.7 | Providing High Yield Strength Deformed (HYSD)/ Thermo Mechanically Treated (TMT) steel bars ( Fe 500 grade as per IS 1786-1979) different diameters for RCC works , including labour charges for straightening, cutting, bending to required sizes and shapes, placing in position with cover blocks of approved materials and size and tying and lap-splicing with binding wire of 18 SWG, forming grills for reinforcement work as per approved designs and drawings, including cost and conveyance of steel bars, including all wastages such as overlaps, couplings, chairs, spacer bars including cost and conveyance of binding wire, cover blocks and all incidental, operational, labour charges such as cutting, bending, placing in position, tying including sales and other taxes on all materials etc., complete for finished item of work in conventional foundations and in Pile foundations | MT | 321.224
5 | Erection of towers & tower extension parts complete with step bolts, hangers, D-shackles, bolts & nuts etc, including tack welding and supply and application of enamel & zinc rich paint but excluding tower accessories such as danger plates, number plates, phase plates, anti-climbing devices (for QA, QB, QC & QD Mckt (4 ckt) towers) including incidental transport and handling charges. | MT | 982
6 | Installation of Tower Accessories & Earthing
6.1 | Tower Accessories
a | Danger Plate | No. | 77
b | Number Plate | No. | 77
c | Anti Climbing Device | Sets | 77
d | Phase Plate (RYB 1 set) | Sets | 308
e | Circuit Plate | Sets | 308
f | Bird Guards | Sets | 924
g | Aviation signal | Sets | 10
6.2 | Installation of Tower Earthing Material
a | Pipe Type Earthing set | sets | 70
Counterpoise Type
b | i) Counterpoise Type - 25 m | sets | 20
| ii) Counterpoise Type - 50 m | sets | 8
| iii) Counterpoise Type - 100 m | sets | 4
7 | Installation of Line Materials
7.1 | Stringing of Conductor and Groundwire including jumpering
a | Stringing of 22 km, 132 kV Multi circuit transmission line ACSR conductor in 4-ckt tower, code name "BEAR"including mounting of Insulator & Hardware assembly armour rod, mid span compression joints, repair sleeves etc to complete the job | km | 22
b | Stringing of 22 km, steel ground wire with optical fiber (48-fiber) including intermediate splice boxes and necessary terminal splice boxes, etc. | km | 22
7.2 | Insulator strings with insulators, attachment assemblies and arcing horns all complete for ACSR "Bear" conductor and attachment assemblies all complete for OPGW
a | Single suspension with 1 composite long rod insulator 70kN complete for "BEAR" conductor | Set | 612
b | Double suspension with 2x1 composite long rod insulator 70kN complete for "BEAR" conductor | Set | 24
c | Single tension with 1 composite long rod insulator 120kN complete for "BEAR" conductor | Set | 588
d | Double tension with 2x1 composite long rod insulator 120kN complete for "BEAR" conductor | Set | 60
e | Pilot single suspension with composite rod insulator 70kN along with counterweights suitable for Bear ACSR Conductor | Set | 138
f | OPGW suspension Hard ware with preformed assembly complete | Set | 92
g | OPGW tension Hardware preformed assembly complete for one tower | Set | 34
7.3 | Installation of Preformed fittings for OPGW
a | Optical approach cable for New Pokharia Substation. | Km | 0.5
b | Optical Distribution Frames and other accessories required for connection with Multiplexer of New Pokhariyaj Substation. | Lot | 1
7.4 | Installation of Vibration Dampers
a | Stockbridge Vibration damper for BEAR Conductor | set | 2520
b | Stockbridge Vibration damper for OPGW overhead ground wire with preformed armour rods | set | 162
8 | Protection of tower footing
a | Random rubble stone masonry including excavation (1:4 cement: sand) | CUM | 1500
b | Stone bound in galvanizing wire netting including excavation (Gabion box protection) | CUM | 1500
c | Back filling and leveling of volumes enclosed by revetment | CUM | 200
d | M20 Conc. Nominal Mix 1:1.5:3 for protection work. | CUM | 200
e | Reinforcement Bars | tons | 5
Total of Schedule No. 4A to Grand Summary)
Note: The unit rate in this sheet does not include Local Transportation, Insurance and other Incidental services (including port clearance etc.).
Specify currency in accordance with ITB Clause 19.1 of the Bidding Documents.
Name of Bidder: | [6 empty] | Date:
Signature of Bidder:
(Printed Name)
(Designation)
(Common Seal)

## Sch_4(b)
NEPAL ELECTRICITY AUTHORITY
Project Management Directorate
Hetauda-Parwanipur-Pokhariya 132 kV Transmission Line Project
PMD/PTDSSP/HPP/2080/81-01: Design, Supply, Installation, Testing and Commissioning of Parwanipur-Pokhariya 132 kV Transmission Line.
Schedule No. 4
B:Training Charges for training to be imparted to Employer's Personnel by Bidder's Instructor in Abroad
Sl. No. | Description | Item for which training is to be imparted. | Country where training is to be imparted | Nos. of Trainee | Training duration in days | Total Training Charges |  | Remarks
[6 empty] | Charges (FC) | Total Training Charges (FC)
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 = 5 x 7
Training Charges for the trainings to be imparted abroad to Employers personnels
Not Applicable
Total for Training Charges
Total of Schedule- 4B
REMARKS: 1. Training at Manufacturer’s works: The Bidder/Contractor shall include in the training charges payment of per Diem allowance to Employer's Personnel (NEA trainees) @ USD 150 per day per trainee for the duration of training abroad towards accommodation, meals and other incidental expenses and to and fro economy class air ticket from Nepal to place of training. The duration of training shall be excluding travelling period.

## Sch_4(c)
NEPAL ELECTRICITY AUTHORITY
Project Management Directorate
Hetauda-Parwanipur-Pokhariya 132 kV Transmission Line Project
PMD/PTDSSP/HPP/2080/81-01: Design, Supply, Installation, Testing and Commissioning of Parwanipur-Pokhariya 132 kV Transmission Line.
Schedule No. 4
C:Training Charges for training to be imparted to Employer's Personnel by Bidder's Instructor in Nepal
Sl. No. | Description of the Test | Item for which training is to be imparted. | Training duration in days | Currency | Training Charges for Contractors Trainers |  | Remarks
[5 empty] | Unit rate (LC) | Total Training Charges (LC)
1 | 2 | 3 | 4 | 5 | 6 | 7 = 4x 6
Not Applicable
Total for Training Charges
Total of Schedule- 4 C | [5 empty] | 0
REMARKS: 2. On Job Training in Nepal: The traveling and living expenses of Employer’s personnel for the training programme conducted in Nepal shall be borne by the Employer (Owner).

## Sch_4(d)
NEPAL ELECTRICITY AUTHORITY
Project Management Directorate
Hetauda-Parwanipur-Pokhariya 132 kV Transmission Line Project
PMD/PTDSSP/HPP/2080/81-01: Design, Supply, Installation, Testing and Commissioning of Parwanipur-Pokhariya 132 kV Transmission Line.
Schedule No. 4
D: Maintenance Charges
Sl No | Description | Unit | Qty. | Total Maintenance Charges |  |  | Remarks
|  |  |  | Currency | Unit Rate (LC) | Total Maintenance Charges (NPR)
| 1 | 2 | 3 | 4 |  | 5
Not Applicable
Total Maintenance Charges
| Total of Schedule- 4A (d) |  |  |  |  | 0

## Sch_4(e)
NEPAL ELECTRICITY AUTHORITY
Project Management Directorate
Hetauda-Parwanipur-Pokhariya 132 kV Transmission Line Project
PMD/PTDSSP/HPP/2080/81-01: Design, Supply, Installation, Testing and Commissioning of Parwanipur-Pokhariya 132 kV Transmission Line.
Schedule No. 4
E: Prototype Testing of Tower
Item No. | Item Description | Estimated |  | Unit Price |  |  | Total Price |  | Remarks
|  | Unit | Quantity | Local Currency Portion (LC) (NPR) | Foreign Currency # | Foreign Currency Portion (FC) | Local Currency Portion (LC) | Foreign Currency Portion (FC)
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
1 | Proto Type Testing of Towers
a | Tower Type QA with extension +9m | No. | 1
a | Tower Type QB with extension +9m | No. | 1
b | Tower Type QC with extension +9m | No. | 1
d | Tower Type QD with extension +9m | No. | 1
Total Testing cost
Total of Schedule -4E Carried to General Summary, Schedule 5
Name of Bidder:
Signature of Bidder:
(Printed Name)
(Designation)
(Common Seal)

## Sch_4f)
NEPAL ELECTRICITY AUTHORITY
Hetauda-Parwanipur-Pokhariya 132 kV Transmission Line Project
PMD/PTDSSP/HPP/2080/81-01: Design, Supply, Installation, Testing and Commissioning of Parwanipur-Pokhariya 132 kV Transmission Line.
Schedule No. 4
F: EHS Requiremnts
Item | Description | Unit | Quantity | Amount in NPR | Foreign Currency (FC) # | Amount in FC
1 | Implementation of EHS as per the EMP requirements as mentioned in Annex-A, Volume II.
1.1 | Pollution Study (air and dust pollution, water pollution, noise pollution, etc. as mentioned in Annex-A, Volume II). | Set | 1
1.2 | Staffing (Safety and Occupational Health Expert, Environment Expert, GESI Specialist) as mentioned in Personnel Requirements, Section 6 - Employer’s Requirements of Volume I & EMP requirements, Annex-A, Volume II . | Set | 1
1.3 | Occupational Health & Safety including Medical Insurance of the Laborers. | Lump sum | 1
1.4 | Solid and hazardous waste management study and implementation. | Lump sum | 1
2 | Construction of Labour Camp as mentioned in Annex-B, Volume II (Labor Camp Standards to be Complied by The Contractor During Implementation) . | Set | 1
3 | Bird Survey Works along with the proper documentation as per the EMP requirements mentioned in Annex-A, Volume II. | Set | 1
4 | Other material, equipment, human resources, trainings or those items/studies/ trainings not specifically mentioned but deemed necessary based on EMP requirements. | Lump sum | 1
TOTAL (Carried to General Summary, Schedule 5)
# - Please mention the designation of currency.
| Signature: | Printed Name:
| Designation: | Common Seal:

## Sch_5 (final)
NEPAL ELECTRICITY AUTHORITY
Project Management Directorate
Hetauda-Parwanipur-Pokhariya 132 kV Transmission Line Project
PMD/PTDSSP/HPP/2080/81-01: Design, Supply, Installation, Testing and Commissioning of Parwanipur-Pokhariya 132 kV Transmission Line.
Schedule No. 5: Grand Summary
Sl. No. | Description | Total Amount |  | Remarks
|  | Total Price Foreign ( FC )* | Total Price Local (LC)*
1 | TOTAL SCHEDULE NO. 1
Plant and Equipment including Mandatory Spares to be supplied from abroad, including Type Test Charges for Type Tests to be conducted abroad.
2 | TOTAL SCHEDULE NO. 2
Plant and Equipment including Mandatory Spares Parts to be supplied from within Nepal including Type Test Charges
3 | TOTAL SCHEDULE NO. 3
Design Services
4 | TOTAL SCHEDULE NO. 4
A. Installation Charges and construction charges
B. Training Charges for Training to be imparted abroad
C. Training Charges for Training to be imparted in Nepal
D. Maintenance charges
E.Prototype Testing of Towers
F. ESHS
5 | GRAND TOTAL [1+2+3+4A+4B+4C+4D+4E + 4F] excluding Custom duty & VAT
| Signature: | Printed Name:
| Designation: | Common Seal: