## Sch-1
Schedule No. 1(A): General Items
A. SUBSTATION WORK
Item no. | Description | Unit | Quantity | Rate |  | Amount
|  |  |  | Local (NPR) | Foreign (JPY) | Local (NPR) | Foreign (JPY)
A1 | Security of the Site | LS | -
A2 | Health and Safety Management. | LS | -
A3 | Environmental Activities | LS | -
A4 | Establishment and Removal of Facilities for Contractor’s Personnel. | LS | -
A5 | Maintenance of Facilities for Contractor’s Personnel. | LS | -
A6 | Establishment and Removal of office in the site and office equipment for use of Employer and Engineer in Birauta | LS | -
A7 | Maintenance of office in the site and office equipment for use of Employer and Engineer, including necessary cost of cars for Employer and Engineer | LS | -
Total for Schedule No. 1(A) (carried forward to Item 1(1) of Grand Summary)
Note) | LS: Lump Sum

## Sch-2 (S)
Schedule No. 2(A): Design
A. SUBSTATION WORK
Item no. | Description | Unit | Quantity | Rate |  | Amount
|  |  |  | Local (NPR) | Foreign (JPY) | Local (NPR) | Foreign (JPY)
A1 | Design of Plant, Equipment and Machinery, including CT, VT Burden Analysis & Relay Setting Calculation, including coordination of SCADA systems | Lot | 1
A2 | Design for Civil and Building Works including Building Service Facililities | Lot | 1
A3 | Design for Permanent and/or Temporary Works for construction, installation and maintenance. | Lot | 1
A4 | Design of Contractor's Temporary Works | Lot | 1
A5 | Compilation and submission of as-built drawings and documents | Lot | 1
A6 | Compilation and submission of Operation and Maintenance Manuals | Lot | 1
A7 | All miscellaneous design works and preparation of dorequired to complete the Contract | Lot | 1
Total for Schedule No. 2(A) (carried forward to Item 1(2) of Grand Summary)

## Sch-3(S)_A1. Birauta
Schedule No. 3(A1): Supply of Plant (Off-Site)
A. SUBSTATION WORK
A1 Birauta Substation
Item no. | Description | Code*1 | Unit | Quantity | Rate |  | Amount
[5 empty] | Local (NPR) | Foreign (JPY) | Local (NPR) | Foreign (JPY)
A1.1 | 132kV GIS
A1.1.1 | Busbar |  | No. | 1
A1.1.2 | Line Feeder |  | No. | 2
A1.1.3 | Transformer feeder |  | No. | 2
A1.1.4 | Buscoupler |  | No. | 1
A1.2 | 11kV GIS
A1.2.1 | Transformer feeder |  | No. | 2
A1.2.2 | Outgoing feeder |  | No. | 13
A1.2.3 | Subtransmission line |  | No. | 2
A1.2.4 | Auxiliary Transformer feeder |  | No. | 2
A1.2.5 | Bus section feeder |  | No. | 1
A1.3 | Auxiliary Supply
A1.3.1 | Main switch board |  | No. | 1
A1.4 | Battery & Inverter etc.
A1.4.1 | DC110V Battery & Charger |  | No. | 1
A1.4.2 | Inverter for SAS |  | No. | 1
A1.4.3 | DC48V Battery & Charger |  | No. | 1
A1.5 | Protection & Control etc.
A1.5.1 | SAS |  | Lot | 1
A1.5.2 | 145kV Feeder Protection/Control |  | No. | 2
A1.5.3 | 145kV Trans. Protection/Control/AVR |  | No. | 2
A1.5.4 | 145kV Bus section Protection/Control |  | No. | 1
A1.5.5 | 11kV Protection/Control |  | No. | 20
A1.6 | SCADA & Communication |  | No. | 1
A1.7 | Substation Earthing |  | Lot | 1
A1.8 | Power & Control Cable
A1.8.1 | 145kV Cable |  | Lot | 1
A1.8.2 | 11kV Cable |  | Lot | 1
A1.9 | Transformer
A1.9.1 | Main Transformer |  | No. | 2
A1.9.2 | Auxiliary Transformer |  | No. | 2
A1.10 | Neutral Earthing etc. |  | Lot | 1
A1.11 | Diesel Generator |  | No. | 1
A1.12 | Overhead Travelling Crane |  | No. | 1
A1.13 | Transformer Firefighting |  | Lot | 1
A1.14 | All Miscellaneous Materials for Completion of Substation Work |  | Lot | 1
A1.15 | Test Equipment
A1.15.1 | Three Phase Relay Testing Kit |  | No. | 1
A1.15.2 | SF6 Gas Leakage Detector (Portable) |  | No. | 1
Total for Schedule No. 3 (carried forward to Item 1(3) of Grand Summary)
*1 | Bidders shall enter a code representing the country of origin of all imported plant and equipment.
Country of Origin Declaration Form
Item | Description | Code |  | Country

## Sch-3(S)_A2. Lekhnath
Schedule No. 3(A2): Supply of Plant (Off-Site)
A. SUBSTATION WORK
A2 Lekhnath Substation
Item no. | Description | Code*1 | Unit | Quantity | Rate |  | Amount
[5 empty] | Local (NPR) | Foreign (JPY) | Local (NPR) | Foreign (JPY)
A2.1 | Protection & Control etc.
A2.1.1 | SAS |  | Lot | 1
A2.1.2 | 145kV Feeder Protection/Control |  | No. | 1
A2.2 | SCADA & Communication |  | No. | 1
A2.3 | Power & Control Cable
A2.3.1 | Control Cable |  | No. | 1
Total for Schedule No. 3(A2) (carried forward to Item 1(4) of Grand Summary)
*1 | Bidders shall enter a code representing the country of origin of all imported plant and equipment.
Country of Origin Declaration Form
Item | Description | Code |  | Country

## Sch-3(S)_A3. Syangja
Schedule No. 3(A3): Supply of Plant (Off-Site)
A. SUBSTATION WORK
A3 Syangja Substation
Item no. | Description | Code*1 | Unit | Quantity | Rate |  | Amount
[5 empty] | Local (NPR) | Foreign (JPY) | Local (NPR) | Foreign (JPY)
A3.1 | Protection & Control etc.
A3.1.1 | SAS |  | Lot | 1
A3.1.2 | 145kV Feeder Protection/Control |  | No. | 1
A3.2 | SCADA & Communication |  | No. | 1
A3.3 | Power & Control Cable
A3.3.1 | Control Cable |  | No. | 1
Total for Schedule No. 3(A3) (carried forward to Item 1(5) of Grand Summary)
*1 | Bidders shall enter a code representing the country of origin of all imported plant and equipment.
Country of Origin Declaration Form
Item | Description | Code |  | Country

## Sch-4(S)
Schedule No. 4(A): Construction, Installation and Testing (On-Site)
A. SUBSTATION WORK
Item no. | Description | Unit | Quantity | Rate |  | Amount
|  |  |  | Local (NPR) | Foreign (JPY) | Local (NPR) | Foreign (JPY)
A1 | Installation of Plant, Equipment and Machinery
A1.1 | Installation for Birauta Substation Equipment | Lot | 1
A1.2 | Installation for Lekhnath Substation Equipment | Lot | 1
A1.3 | Installation for Syangja Substation Equipment | Lot | 1
A2 | Civil & Building Works
A2.1 | Birauta Substaion
A2.1.1 | Site Preparation Works, including Site Survey, Demolish and Land Formation | Lot | 1
A2.1.2 | Boundary wall, Entrance Gates and Chained Link Fence | Lot | 1
A2.1.3 | Internal Road Works including Connection to Existing Public Road | Lot | 1
A2.1.4 | Storm Water Drainage and Oil Contaminated Water Drainage Systems | Lot | 1
A2.1.5 | Outdoor Electrical Works | Lot | 1
A2.1.6 | Substation Building | Lot | 1
A2.1.7 | Guard House | Lot | 1
A2.1.8 | Covered car parking for 3 cars per shed | Lot | 1
A2.1.9 | Firefighting house and relevant outdoor equipment foundations | Lot | 1
A2.1.10 | Water supply, Plumbing and Sewage Disposal Systems | Lot | 1
A2.1.11 | Landscaping | Lot | 1
A2.1.12 | Miscellaneous Works, includinh all Necessary Site Works | Lot | 1
A2.2 | Lekhnath Substaion
A2.2.1 | Miscellaneous Works, including All Necessary Site Works | Lot | 1
A2.3 | Syangja Substaion
A2.3.1 | Miscellaneous Works, including All Necessary Site Works | Lot | 1
A3 | Building Service Facilities
A3.1 | Air conditioning and Ventilating | Lot | 1
A3.2 | Fire Safety Facilities | Lot | 1
A3.3 | Lighting and Small Power Supply Work | Lot | 1
A3.4 | Overhead Travelling Crane | Lot | 1
A3.5 | Closed Circuit Television Equipment and Intruder Protection System | Lot | 1
A3.6 | Transformer Fire Fighting System | Lot | 1
A3.7 | Lightening Protection & Grounding System | Lot | 1
A4 | Staff Quarter with Building Service Facilities | Lot | 1
Total for Schedule No. 4(A) (carried forward to Item 1(6) of Grand Summary)

## Sch-5(S)
Schedule No. 5(A): Training
A. SUBSTATION WORK
Item no. | Description | Unit | Quantity | Rate |  | Amount
|  |  |  | Local (NPR) | Foreign (JPY) | Local (NPR) | Foreign (JPY)
A1 | Oversea Training for Gas Insulated Switchgear | 1 | Lot
A2 | Oversea Training for Substation Automation System | 1 | Lot
A3 | Oversea Training for Protection Equipment | 1 | Lot
A4 | Site Training for Gas Insulated Switchgear | 1 | Lot
A5 | Site Training for Substation Automation System | 1 | Lot
A6 | Site Training for Protection Equipment | 1 | Lot
Total for Schedule No. 5(A) (carried forward to Item 1(7) of Grand Summary)

## Sch-6(S)
Schedule No. 6(A): Mandatory Spare Parts
A. SUBSTATION WORK
Item no. | Description | Unit | Quantity | Rate |  | Amount
|  |  |  | Local (NPR) | Foreign (JPY) | Local (NPR) | Foreign (JPY)
A1 | 145kV Circuit Breaker
A1.1 | Operation Mechnism for CB | Lot. | 1
A1.2 | Each type of cl. And op. coils | No. | 15
A1.3 | Each type of aux. contact unit | No. | 3
A2 | 145kV DS and ES
A2.1 | Operation Mechnism of DS | Lot | 1
A2.2 | Mech. Drive unit of ES | No. | 1
A3 | 145kV CT core each rating | Lot | 1
A4 | 145kV VT core of each rating | Lot | 1
A5 | SF6 Gas Cylinder (net content:45kg each) | No. | 5
A6 | 12kV Breaker
A6.1 | Operation Mechnism for CB | Lot. | 1
A6.2 | Each type of cl. And op. coils | No. | 10
A6.3 | Each type of mov. And stat. Cont. | No. | 3
A6.4 | Vacume interrupter chambers | No. | 2
A7 | 12kV DS
A7.1 | Set of mov. Sta. cont. for each rating | Lot | 1
A7.2 | Ditto for ES | Lot | 1
A7.3 | Operation mechnism for DS | Lot | 1
A7.4 | Aux. contact of DS | No. | 3
A7.5 | Aux. contact of ES | No. | 3
A8 | 12kV CT for each rating | Lot | 1
A9 | 12kV VT for each rating | Lot | 1
A10 | Fuse for load break sw | No. | 3
A11 | Protection and Control
A11.1 | Each type of prot. relay/AVR | No. | 1
A11.2 | Each type of Tripping relay | No. | 2
A11.3 | Each type of aux. relay | No. | 5
A11.4 | Each type of trip circuit SV relay | No. | 1
A11.5 | Each type of Bay Control Unit | No. | 1
A11.6 | Each type of sw | No. | 1
A11.7 | Each type of MCB | No. | 1
A11.8 | Each type of lamps | No. | 10
A11.9 | Each type of Eithernet sw | No. | 2
A11.10 | Optical connectors | No. | 1
A12 | DC & Inverter Equipment
A12.1 | Each type of Printed circuit board | No. | 1
A12.2 | Each type of MCB | No. | 1
A13 | LVAC Equipmet
A13.1 | Each type of MCB/contactor | No. | 1
A14 | Power/Control and aux. cables
A14.1 | Power Cables (145kV/12kV) 100m ea. | No. | 1
A14.2 | Control cables 200m ea. | No. | 1
A14.3 | Auxiliary cables 200m ea. | No. | 1
A14.4 | Other cables 100m ea. | No. | 1
A15 | Transformer
A15.1 | 132kV Bushing (single phase) | No. | 1
A15.2 | 11kV Bushing (single phase) | No. | 1
A15.3 | 132kV Neutral bushing | No. | 1
A15.4 | 11kV Neutral bushing | No. | 1
A15.5 | Set of gasket for each transformer | No. | 1
A15.6 | Set of dial type thermometer with gasket | No. | 1
A15.7 | Sets of thermal image type indicator with gasket | No. | 1
A15.8 | Sets of silica gel | No. | 1
A15.9 | Buchholz relay | No. | 1
A15.10 | Set of tap changer diverter sw | No. | 1
A15.11 | Tap changer control sw | No. | 1
A15.12 | Transformer oil 200 barrel | No. | 10
A16 | Commom
A16.1 | 145kV Special tools/Instrument for op. and maint. | Lot | 1
Total for Schedule No. 6 (carried forward to Item 1(8) of Grand Summary)

## Sch-7(S)
Schedule No. 7(A): Recommended Spare Parts
A. SUBSTATION WORK
Item no. | Description | Unit | Quantity | Rate |  | Amount
|  |  |  | Local (NPR) | Foreign (JPY) | Local (NPR) | Foreign (JPY)
A1
A2
A3
A4
A5
A6
A7
Total for Schedule No. 7(A) (carried forward to Schedule 7 of Grand Summary)
Notes for the Bidders
1. | The Bidder shall list out and price in the above schedule, any spare parts which is recommended for the operation and maintenance of the facilities for the period indicated in BDS 16.2(b) (in case of Single-Stage Two-Envelope Bidding) and in BDS 14.2(b) (in case of Two-Stage One-Envelope Bidding) after the completion of the Works, and which are not included in the Schedule entitled “Mandatory Spare Parts”.
2. | Any spare parts required for attaining completion of the Works shall not be included in this Schedule as they shall be included in the relevant Schedule where regular items of the Plant are described.
3. | These spare parts may include, among others, any consumables, not readily available in the Employer’s country.
4. | The identity, specifications and quantities of such spare parts and the terms and conditions relating to the supply thereof are to be agreed between the Employer and the Contractor prior to the completion of the Works. Reference shall be made to Sub-Clauses 1.1.5.10 and 7.9 of the Conditions of Contract.
5. | The price of such spare parts shall include the purchase price and other costs relating to the supply of spare parts such as transportation, port charge and the Contractor’s fees. The Recommended Spare Parts are not subject to evaluation in accordance with ITB 31.3 and ITB 35.1 (in case of Single-Stage Two-Envelope Bidding), and ITB 25.3 and ITB 48.1 (in case of Two-Stage One-Envelope Bidding).
6. | The total price of this Schedule shall not be added to the Bid Price. However, the price may have been added to the Contract Price (with modifications agreed during the contract negotiations or the contract execution), if both Parties agree to do so.