## Sch-1
Schedule No. 1(C): General Items
C. DISTRIBUTION LINE WORK
Item no. | Description | Unit | Quantity | Rate |  | Amount
|  |  |  | Local (NPR) | Foreign (JPY) | Local (NPR) | Foreign (JPY)
C1 | Security of the Site | LS | -
C2 | Health and Safety Management. | LS | -
C3 | Environmental Activities | LS | -
C4 | Establishment and Removal of Facilities for Contractor’s Personnel. | LS | -
C5 | Maintenance of Facilities for Contractor’s Personnel. | LS | -
Total for Schedule No. 1(C) (carried forward to Item 3(1) of Grand Summary)

## Sch-2 (2)
Schedule No. 2(C): Design
C. DISTRIBUTION LINE WORK
Item no. | Description | Unit | Quantity | Rate |  | Amount
|  |  |  | Local (NPR) | Foreign (JPY) | Local (NPR) | Foreign (JPY)
C1 | Pre-construction survey including detail survey, study and prepare GIS map and reporting of existing network for HT, LT, and consumer connection etc. | Lot | 1
C2 | Complete design of underground distribution line network including installation of RMUs and LT pillars, truss type cable bridge for canal crossing, and cable trough in Birauta substation | Lot | 1
C3 | Complete design of overhead distribution line network, including the river crossing design | Lot | 1
C4 | Complete design of communication and automation system for distribution lines, including fiber optical network | Lot | 1
C5 | Compilation and submission of as-built drawings and documents | Lot | 1
C6 | Compilation and submission of Operation and Maintenance Manuals | Lot | 1
C7 | All miscellaneous design and preparation works required to complete the Contract for Distribution Line Work | Lot | 1
Total for Schedule No. 2(C) (carried forward to Item 3(2) of Grand Summary)

## Sch-3_C1. Underground Line
Schedule No. 3(C1): Supply of Plant (Off-Site)
C. DISTRIBUTION LINE WORK
C1 Underground Line
| Description | Code*1 | Unit | Quantity | Rate |  | Amount
[5 empty] | Local (NPR) | Foreign (JPY) | Local (NPR) | Foreign (JPY)
C1.1 | HT Cables along with Straight Jointing Kit, Outdoor & Indoor Termininafion Kit, HDPE Pipe and other accessaries
C1.1.1 | 3-Core, 400 mm2, 11 kV, XLPE Armoured Aluminum cable |  | km | 12.9
C1.1.2 | 3-Core, 150 mm2, 11 kV, XLPE Armoured Aluminum cable |  | km | 0.1
C1.2 | LT Cables along with neccssary termination kit, HDPE Pipe and accessories
C1.2.1 | LT XLPE Armoured 3.5 Core, 300 mm2 Aluminum Cable |  | km | 0.45
C1.2.2 | LT XLPE Armoured 3.5 Core, 185 mm2 Aluminum Cable |  | km | 9.15
C1.3 | Service Cables (Armored, XLPE and Multi -Stranded) along with Connectors and PVC Pipes
C1.3.1 | Service Cable along with connectors, and all accessories required for connection of meter to service piller (single phase 16 A). |  | Customer | 430
C1.3.2 | Service Cable along with connectors, and all accessories required for connection of meter to service piller (single phase 30 A). |  | Customer | 90
C1.3.3 | Service Cable along with connectors, and all accessories required for connection of meter to service piller (single phase 60 A). |  | Customer | 30
C1.3.4 | Service Cable along with connectors, and all accessories required for connection of meter to service piller (Three phase upto 25 KVA). |  | Customer | 30
C1.3.5 | Service Cable along with connectors, and all accessories required for connection of meter to service piller (Three phase upto 25 to 50 KVA). |  | Customer | 30
C1.4 | RMU (Ring Main Units) including MS Galvanized Steel Supporting Base Structures
C1.4.1 | Outdoor type 11 KV SF6 type extensible and motorized 5 way smart Ring Main Unit (RMU) complete with 2 VCB and 3 LBS with FPI (Fault Passage Indicator) |  | Set | 3
C1.4.2 | Feeder Remote Terminal Unit suitable for above types of RMUs |  | Set | 3
C1.5 | LT Feeder Pillar including MS Galvanized Steel Supporting Base Structure
C1.5.1 | 6- way Distribution feeder pillar with 1 no MCCB, 4 pole, 3phase, 415V, 500 Amps for incoming and 5 nos outgoing MCCBs, 4 pole, 3phase, 415V, 200 Amps rating each, along with LT CTs and Multifunction meter for metering arrangement on incomer (TYPE D1) |  | Set | 5
C1.5.2 | 6- way Distribution feeder pillar with 1 no MCCB, 4 pole, 3phase, 415V, 400 Amps for incoming and 5 nos outgoing MCCBs, 4 pole, 3phase, 415V, 200 Amps rating each, along with LT CTs and Multifunction meter for metering arrangement on incomer (TYPE D2) |  | Set | 4
C1.5.3 | 5- way Distribution feeder pillar with 5 nos outgoing MCCBs, 4 pole, 3phase, 415V, 200 Amps rating each, (TYPE D3) |  | Set | 42
C1.5.4 | 3 phase, 4 Polc, 415 v, Distribution Service Pillar for LT. 150 Amps incoming MCCB, 1 no with busbars for upto 30 connection distribution service pillar (TYPE E). |  | Set | 60
C1.6 | lnterbranch metering units (CT, PT, control cable and other accessories) along with separate enclosure suitable to be mounted on the RMU |  | Set | 4
Total for Schedule No. 3(C1) (carried forward to Item 3(3) of Grand Summary)
*1 | Bidders shall enter a code representing the country of origin of all imported plant and equipment.
Country of Origin Declaration Form
Item | Description | Code |  | Country

## Sch-3_C2. Overhead Line
Schedule No. 3(C2): Supply of Plant (Off-Site)
C. DISTRIBUTION LINE WORK
C2 Overhead Line
| Description | Code*1 | Unit | Quantity | Rate |  | Amount
[5 empty] | Local (NPR) | Foreign (JPY) | Local (NPR) | Foreign (JPY)
C2.1 | Steel Tubular Poles including stay wire and other accessories
C2.1.1 | Full Galvanized Steel Tubular Pole 13 .0 M Long |  | Set | 10
C2.1.2 | Full Galvanized Steel Tubular Pole 11 .0 M Long |  | Set | 20
C2.2 | 11 kV XLPE Insulated AAA Conductor
C2.2.1 | 1-Core, 100 mm2 11kV XLPE Insulated AAA Conductor includling Tension/Dead End Assembly, Suspension Assembly, lnsulation Piercing Connectors, Tension Joint and other accessories |  | km | 5.5
C2.3 | Insulators (Disc, Pin and Stay Insulators) with their fittings for Utility Poles |  | Lot | 1
C2.4 | 9kV LA (3 Nos. in 1 Set) set with all accessories |  | Set | 5
C2.5 | 11kV GO switch (400A) with accessories
C2.5.1 | GO switch with handle, pipe and Supporting Channel including motor and other control arrangement |  | Set | 1
C2.5.2 | Feeder Remote Terminal Unit (FRTU) with communication arrangement and Power Supply system |  | Set | 1
C2.6 | Supporting Structure (Pole or Steel Lattice Tower) for river crossing point including stay wires and other accessories |  | Lot | 1
Total for Schedule No. 3(C2) (carried forward to Item 3(4) of Grand Summary)
*1 | Bidders shall enter a code representing the country of origin of all imported plant and equipment.
Country of Origin Declaration Form
Item | Description | Code |  | Country

## Sch-3_C3. Birauta,Telecom
Schedule No. 3(C3): Supply of Plant (Off-Site)
C. DISTRIBUTION LINE WORK
C3 Birauta Substation and Telecommunication
Item no. | Description | Code*1 | Unit | Quantity | Rate |  | Amount
[5 empty] | Local (NPR) | Foreign (JPY) | Local (NPR) | Foreign (JPY)
C3.1 | MPLS-TP Hybrid equipment (1G upto 5MSP direction)
C3.1.1 | Common cards, Equipment Cabinet, switch fabric/control cards,Optical base cards, Optical Interface cards, power supply cards ,power cabling,other hardware and accessories including sub racks, patch cord etc |  | Set | 1
C3.2 | MPLS -TP Equipment (1G upto 4 protected directions) for Ring Main Unit
C3.2.1 | 1 RU MPLS -TP Base Equipment Eequipped with 8XIG MPLS -TP Interface with integrated switch engine and Redundant AC Power supply cards along with Common Cards,Optical Interface Cards, switch Fabric /control cards,power cabling,other hardware & accessories including sub -racks,patch cords, etc. |  | Set | 6
C3.3 | Network Management System (NMS)
C3.3.1 | Network Management System
(a) | Hardware including Remote Terminal Unit (RTU) |  | Set | 1
(b) | Printer (Laser Jet) |  | Set | 1
C3.3.2 | Network Management System for Craft Terminal
(a) | Hardware |  | Set | 1
C3.3.3 | Software for Network Management System |  | Set | 1
C3.4 | Local SCADA/DMS (Distribution Management System)
C3.4.1 | Hardware and Software including Anti Virus for three years |  | Set | 1
C3.5 | FODP & FMS with Splicing & Patching Trays, FCPC coupling and pig tails (5 meter each), Patch Chords |  | Lot | 1
C3.6 | Test Equipment including necessary accessory
C3.6.1 | OTDR (Optical Time Domain Reflectometcr) for 1310/ 1550 nm with laser source. |  | No. | 1
C3.6.2 | Optical Attenuators (variable 1310/ 1550 nrn ). |  | No. | 1
C3.6.3 | Optical Power meter ( 1310/ 1550 nm) with Laser Source. |  | No. | 1
C3.6.4 | Laser Light Source ( 1310 /1550 nrn). |  | No. | 1
C3.6.5 | Optical Fibre Fusion Splicer including Fibre cleaver. |  | No. | 1
C3.6.6 | Splice Kit |  | No. | 1
C3.7 | Underground Fiber Optic Cable (UGFO Cable) including Joint Box and PLB-HDPE Pipe
C3.7.1 | 96 Fibers |  | km | 4.7
C3.7.2 | 24 Fibers |  | km | 0.2
Total for Schedule No. 3(C3) (carried forward to Item 3(5) of Grand Summary)
*1 | Bidders shall enter a code representing the country of origin of all imported plant and equipment.
Country of Origin Declaration Form
Item | Description | Code |  | Country

## Sch-4_C1. Underground Line
Schedule No. 4(C1): Construction, Installation and Testing (On-Site)
C. DISTRIBUTION LINE WORK
C1 Underground Line
Item no. | Description | Unit | Quantity | Rate |  | Amount
|  |  |  | Local (NPR) | Foreign (JPY) | Local (NPR) | Foreign (JPY)
C1.1 | Installation of HT Cables along with Straight Jointing Kit, Outdoor & Indoor Termininafion Kit, HDPE Pipe, other accessaries and associated civil works
C1.1.1 | 3-Core, 400 mm2, 11 kV, XLPE Armoured Aluminum cable | km | 12.9
C1.1.2 | 3-Core, 150 mm2, 11 kV, XLPE Armoured Aluminum cable | km | 0.1
C1.2 | Installation of LT Cables along with neccssary termination kit, HDPE Pipe, accessories and associated civil works
C1.2.1 | LT XLPE Armoured 3.5 Core, 300 mm2 Aluminum Cable | km | 0.45
C1.2.2 | LT XLPE Armoured 3.5 Core, 185 mm2 Aluminum Cable | km | 9.15
C1.3 | Installation of Service Cables (Armored, XLPE and Multi -Stranded) along with Connectors, PVC Pipes and associated civil works
C1.3.1 | Service Cable along with connectors, and all accessories required for connection of meter to service piller (single phase 16 A). | Customer | 430
C1.3.2 | Service Cable along with connectors, and all accessories required for connection of meter to service piller (single phase 30 A). | Customer | 90
C1.3.3 | Service Cable along with connectors, and all accessories required for connection of meter to service piller (single phase 60 A). | Customer | 30
C1.3.4 | Service Cable along with connectors, and all accessories required for connection of meter to service piller (Three phase upto 25 KVA). | Customer | 30
C1.3.5 | Service Cable along with connectors, and all accessories required for connection of meter to service piller (Three phase upto 25 to 50 KVA). | Customer | 30
C1.4 | Installation of RMU (Ring Main Units) including MS Galvanized Steel Supporting Base Structures, and associated civil works
C1.4.1 | Outdoor type 11 KV SF6 type extensible and motorized 5 way smart Ring Main Unit (RMU) complete with 2 VCB and 3 LBS with FPI | Set | 3
C1.4.2 | Feeder Remote Terminal Unit suitable for above types of RMUs | Set | 3
C1.5 | Installation of LT Feeder Pillar including MS Galvanized Steel Supporting Base Structure and associated civil works
C1.5.1 | 6- way Distribution feeder pillar with 1 no MCCB, 4 pole, 3phase, 415V, 500 Amps for incoming and 5 nos outgoing MCCBs, 4 pole, 3phase, 415V, 200 Amps rating each, along with LT CTs and Multifunction meter for metering arrangement on incomer (TYPE D1) | Set | 5
C1.5.2 | 6- way Distribution feeder pillar with 1 no MCCB, 4 pole, 3phase, 415V, 400 Amps for incoming and 5 nos outgoing MCCBs, 4 pole, 3phase, 415V, 200 Amps rating each, along with LT CTs and Multifunction meter for metering arrangement on incomer (TYPE D2) | Set | 4
C1.5.3 | 5- way Distribution feeder pillar with 5 nos outgoing MCCBs, 4 pole, 3phase, 415V, 200 Amps rating each, (TYPE D3) | Set | 42
C1.5.4 | 3 phase, 4 Polc, 415 v, Distribution Service Pillar for LT. 150 Amps incoming MCCB, 1 no with busbars for upto 30 connection distribution service pillar (TYPE E). | Set | 60
C1.6 | Installation of lnterbranch metering units (CT, PT, control cable and other accessories) along with separate enclosure suitable to be mounted on the RMU | Set | 4
C1.7 | Construction of Truss bridge for canal crossing of the underground cable including the associated civil work | Lot | 1
C1.8 | Commissioning and Testing | Lot | 1
Total for Schedule No. 4(C1) (carried forward to Item 3(6) of Grand Summary)

## Sch-4_C2. Overhead Line
Schedule No. 4(C2): Construction, Installation and Testing (On-Site)
C. DISTRIBUTION LINE WORK
C2 Overhead Line
Item no. | Description | Unit | Quantity | Rate |  | Amount
|  |  |  | Local (NPR) | Foreign (JPY) | Local (NPR) | Foreign (JPY)
C2.1 | Installation of Steel Tubular Poles and stay wires and associated civil work
C2.1.1 | Full Galvanized Steel Tubular Pole 13 .0 M Long | Set | 10
C2.1.2 | Full Galvanized Steel Tubular Pole 11 .0 M Long | Set | 20
C2.2 | Installation of 11 kV XLPE Insulated AAA Conductor
C2.2.1 | 1-Core, 100 mm2 11kV XLPE Insulated AAA Conductor includling Tension/Dead End Assembly, Suspension Assembly, Insulator assembly, Bracket assembly, lnsulation Piercing Connectors, Tension Joint and other accessories | km | 5.5
C2.2 | Removel of 11 kV ACSR Bare Conductor, 100 mm2 | km | 0.9
C2.3 | Installation of 9kV LA (3 Nos. in 1 Set) set with all accessories | Set | 5
C2.4 | Installation of 11kV Gang Operated (GO) switch with accessories
C2.4.1 | GO switch (400 Amps) with handle, pipe and Supporting Channel | Set | 1
C2.4.2 | Feeder Remote Terminal Unit (FRTU) with communication arrangement and Power Supply system | Set | 1
C2.5 | Erection of Supporting Structure and Foundation work (and Piling work if necessary) at the river crossing point including stay wires and other accessories | Lot | 1
C2.6 | Commissioning and Testing | Lot | 1
Total for Schedule No. 3(7) (carried forward to Item 3(7) of Grand Summary)

## Sch-4_C3. Birauta, Telecom
Schedule No. 4(C3): Construction, Installation and Testing (On-Site)
C. DISTRIBUTION LINE WORK
C3 Birauta Substation and Telecommunication
Item no. | Description | Unit | Quantity | Rate |  | Amount
|  |  |  | Local (NPR) | Foreign (JPY) | Local (NPR) | Foreign (JPY)
C3.1 | Installation of MPLS-TP Hybrid equipment (1G upto 5MSP direction)
C3.1.1 | Common cards, Equipment Cabinet, switch fabric/control cards,Optical base cards, Optical Interface cards, power supply cards ,power cabling,other hardware and accessories including sub racks, patch cord etc | Set | 1
C3.2 | Installation of 1 RU (Rack Unit ) MPLS -TP Equipment( 1G upto 4 protected directions) for Ring Main Unit
C3.2.1 | 1 RU MPLS -TP Base Equipment Eequipped with 8XIG MPLS -TP Interface with integrated switch engine and Redundant AC Power supply cards along with Common Cards,Optical Interface Cards, switch Fabric /control cards,power cabling,other hardware & accessories including sub -racks,patch cords, etc. | Set | 6
C3.3 | Installation of Network Management System (NMS)
C3.3.1 | Network Management System (NMS)
(a) | Hardware incluidng Remote Terminal Unit (RTU) | Set | 1
(b) | Printer (Laser Jet) | Set | 1
C3.3.2 | Network Management System for Craft Terminal
(a) | Hardware | Set | 1
C3.3.3 | Software for Network Management System | Set | 1
C3.4 | Installation of Local SCADA/DMS (Distribution Management System)
C3.4.1 | Hardware and Software including Anti Virus for three years | Set | 1
C3.5 | Installtion of FODP & FMS with Splicing & Patching Trays,FCPC coupling and pig tails (5 meter each), Patch Chords as per site Requirements. | Lot | 1
C3.6 | Installation of Underground Fiber Optic Cable (UGFO Cable) including PLB-HDPE Pipe and Joint Box
(a) | 96 Fibers | km | 4.7
(b) | 24 Fibers | km | 0.2
C3.8 | Construction of RCC manholes (for joint and providing Service loops) | Set | 28
C3.9 | Commissioning and Testing | Lot | 1
Total for Schedule No. 4(C3) (carried forward to Item 3(8) of Grand Summary)

## Sch-5
Schedule No. 5(C): Training
C. DISTRIBUTION LINE WORK
Item no. | Description | Unit | Quantity | Rate |  | Amount
|  |  |  | Local (NPR) | Foreign (JPY) | Local (NPR) | Foreign (JPY)
C1 | Training at Factory on MPLS-TP equipment, MUX Equipment, NMS and Feeder Management | Lot | 1
C2 | Training at Site for RMU | Lot | 1
C3 | Training at Site for FRTU | Lot | 1
C4 | Training at Site for MPLS Equipment | Lot | 1
Total for Schedule No. 5(C) (carried forward to Item 3(9) of Grand Summary)

## Sch-6
Schedule No. 6(C): Mandatory Spare Parts
C. DISTRIBUTION LINE WORK
Item no. | Description | Unit | Quantity | Rate |  | Amount
|  |  |  | Local (NPR) | Foreign (JPY) | Local (NPR) | Foreign (JPY)
C1 | HT Cables as per Technical Specification
C1.1 | 3-Core, 400 mm2 11kV XLPE Armoured Aluminum Cable | km | 1
C1.2 | 3-Core 150 mm2 11kV XLPE Armoured Aluminum Cable | km | 0.5
C2 | XLPE Insulated Covered AAA Conductor as per Technical Specification
C2.1 | 1-Core 100 mm2 | km | 1
C3 | LT Cables as per Technical Specificntion
C3.1 | LT XLPE Armoured 3.5 Core, 300 sq .mm. Aluminum Cable | km | 0.5
C3.2 | LT XLPE Armoured 3.5 Core 185 sq .mm. Aluminum Cable | km | 1
C4 | Spare for Ring Main Unit (RMU)
C4.1 | VCB of each rating and each make | Set | 2
C4.2 | LBS of each rating and each make | Set | 2
C4.3 | Strarters, contactors, switches & relays for electrical control panels (One set of each type) | Lot | 1
C4.4 | Overcurrent and earth fault relay | Set | 2
C4.5 | Power supply unit | Set | 2
C5 | Spare for Gang Operated (GO) switch
C5.1 | Complete pole of each type & rating complete with operatign mechanism | Lot | 1
C5.2 | Opening coil assembly as applicable | Set | 1
C5.3 | Closing coil assembly as applicable | Set | 1
C5.4 | Auxiliary switch assembly of each type | Lot | 1
C6 | Spares for LT Feeder Pillars
C6.1 | MCCB of each type and rating and each make | Lot | 4
C7 | HT & LT Cable Route Marker and Straight Joint marker 5% of used number | LS | 1
C8 | Spares for Fibre Optics & Communication devices
C8.1 | Mandatory Spares for UGFO
C8.1.1 | Unarmoured Under ground Optical Fiber Cable - 96 Fibers DWSM | km | 0.5
C8.1.2 | Joint Box for UGFO - 96 Fibers | Set | 2
C8.1.3 | Unarmoured Under ground Optical Fibre Cable - 24 Fibers DWSM | km | 0.5
C8.1.4 | Joint Box for UGFO -24 Fibers | Set | 2
C8.2 | MPLS-TP Hybrid Equipment (1G up to 5 MSP protected directions
C8.2.1 | Base Equipment (Common cards, switch fabric/control cards, optical base cards, power supply cards, power cabling, other hardware and accessories including sub racks, patch cord etc fully equiped excluding C8.2.2 below) | Set | 1
C8.2.2 | Optical Interface Cards/SFP#
(a) | Gigabit Ethernet SFP, SM 1550 nm, 60KM | No | 2
(b) | Gigabit Ethernet SFP, SM 1550 nm, 30KM | No | 2
C8.3 | 1 RU( Rack Unit MPLS-TP Equipment 1G up to 4 protectcd directions
C8.3.1 | 1 RU MPLS-TP Base Equipment Equippped with 8X1G MPLS-TP Interface with integrated switch engine and Redundant AC Power Supply cards along with Common cards, switch fabric/control cards, power cabling, other hardware & accessories including sub-racks, patch cords, fully equipped excluding (ii) below) | Set | 2
C8.3.2 | Optical Interface Cards/SFP#
(a) | Gigabit Ethenet SFP. SM 1550 nm | No | 4
Total for Schedule No. 6(C) (carried forward to Item 3(10) of Grand Summary)

## Sch-7
Schedule No. 7(C): Recommended Spare Parts
C. DISTRIBUTION LINE WORK
Item no. | Description | Unit | Quantity | Rate |  | Amount
|  |  |  | Local (NPR) | Foreign (JPY) | Local (NPR) | Foreign (JPY)
C9
Total for Schedule No. 7(C) (carried forward to Schedule 7 of Grand Summary)
Notes for the Bidders
1. | The Bidder shall list out and price in the above schedule, any spare parts which is recommended for the operation and maintenance of the facilities for the period indicated in BDS 16.2(b) (in case of Single-Stage Two-Envelope Bidding) and in BDS 14.2(b) (in case of Two-Stage One-Envelope Bidding) after the completion of the Works, and which are not included in the Schedule entitled “Mandatory Spare Parts”.
2. | Any spare parts required for attaining completion of the Works shall not be included in this Schedule as they shall be included in the relevant Schedule where regular items of the Plant are described.
3. | These spare parts may include, among others, any consumables, not readily available in the Employer’s country.
4. | The identity, specifications and quantities of such spare parts and the terms and conditions relating to the supply thereof are to be agreed between the Employer and the Contractor prior to the completion of the Works. Reference shall be made to Sub-Clauses 1.1.5.10 and 7.9 of the Conditions of Contract.
5. | The price of such spare parts shall include the purchase price and other costs relating to the supply of spare parts such as transportation, port charge and the Contractor’s fees. The Recommended Spare Parts are not subject to evaluation in accordance with ITB 31.3 and ITB 35.1 (in case of Single-Stage Two-Envelope Bidding), and ITB 25.3 and ITB 48.1 (in case of Two-Stage One-Envelope Bidding).
6. | The total price of this Schedule shall not be added to the Bid Price. However, the price may have been added to the Contract Price (with modifications agreed during the contract negotiations or the contract execution), if both Parties agree to do so.

## x Sch-2 (hidden)
Schedule No. 2: Design
C. DISTRIBUTION LINE WORK
Item no. | Description | Unit | Quantity | Rate |  |  | Amount
|  |  |  | Local (NPR) | Foreign (JPY) | Foreign (USD) | Local (NPR) | Foreign (JPY) | Foreign (USD)
C1 | Pre-Construction Survey including detail survey, study and prepare GIS map and reporting of existing network for HT, LT & Consumer connection etc. | Lot | 1
C2 | Complete design of underground line network including installation of RMUs and LT pillars | Lot | 1
C3 | Complete design of overhead line network | Lot | 1
C4 | Complete design of commumication and automation system including Fiber Optical network | Lot | 1
C5 | Complete design of foundation and piling work for the H-pole at the river crossing point | Lot | 1
C6 | Complete design of Truss Bridge for canal crossing of underground cables | Lot | 1
C7 | Complete desing of Cable Trough in the substation premises | Lot | 1
C8 | Compilation and submission of as-built drawings and documents | Lot | 1
C9 | Compilation and submission of Operation and Maintenance Manuals | Lot | 1
C10 | All miscellaneous design works and preparation required to complete the Contract | Lot | 1
Total for Schedule No. 2 (carried forward to Grand Summary, p.____)